Williamson Questionnaire For The TPC System

TPC Operating Environment - Required Information for a Proposal

In order to develop a proposal, Williamson needs some basic information about the operating environment where the TPC System will be installed.  Please provide detailed answers to the questions below.  For example, with Allen Bradley PLCs we need to know if it is an SLC 504 or with Siemens PLCs is it an S7-300.

| General Information |  |  |
| --- | --- | --- |
| 1 | Company, Location |  |
| 2 | Press Number/Name |  |
| 3 | Primary Contact | Name: Phone: Email: |
| 4 | Plant AC Power | 110Vac 220Vac Other |
| Billet Heating Furnace |  |  |
| 5 | Type of Heating | Gas Induction Electric Other Furnace Manufacturer: |
| 6 | Tapered Heating | Gas Induction Electric Other No Tapered Heating |
| 7 | Temperature Control | - Stand Alone Regulator- Manufacturer & Model No: - PLC- Manufacturer & Model No: |
| 8 | External Billet Temp Sensor | - Yes No Sensor Manufacturer: |
| 9 | Type of Billets | Sheared Cut |
| 10 | Billet Diameter (in or mm) |  |
| 11 | Number of Zones |  |
| 12 | Est. Capacity (lbs/hr or Kg/hr) |  |
| Press |  |  |
| 13 | Type of Press | Direct Indirect Press Manufacturer: |
| 14 | Capacity (Tons) |  |
| 15 | Press Control | - Relay Logic- Manufacturer & Model No: - PLC- Manufacturer & Model No: |
| 16 | Main Pumps | Oilgear Rexroth Other, Type: |
| 17 | Liquid Nitrogen Cooling | Yes No , if yes, On/Off Valve Proportional Valve |
| 18 | Type of Quench Cooling (check all options) | Air Mist/Water Spray Water Bath On/Off Control Proportional Control |
| 19 | Press Exit Temperature Sensor | Yes No Sensor Manufacturer: |
| 20 | Quench Temperature Sensor | - Yes No Sensor Manufacturer: |
| 21 | Die Temperature Sensor | Yes No Sensor Manufacturer: |
| Handling Equipment |  |  |
| 22 | Puller | Yes No Puller Manufacturer: |
| 23 | Handling Control | - Relay Logic PLC- Manufacturer & Model No: |
| Computer and PLC Networks |  |  |
| 24 | Type of PLC Network | No PLC Network Furnace and Press PLCs: DH+ ETH MPI Other____________ Press and Puller PLCs: DH+ ETH MPI Other____________ |
| 25 | Computer Network at the Press | Yes - Ethernet with Internet Access No |
| 26 | Plant Server | Yes No |

Specification for TPC Communications - optional information for a proposal

In order to implement the closed loop controls of the TPC System, some basic communications will be setup between the existing controls and the TPC System.  The two possible methods of communication are:

- Digital Communications:  If a PLC Network is available, then the TPC PLC will be added to the network and minor programming changes will be made to enable the communications.

- Analog Communications:  If the furnace and press do not have PLCs or if the PLCs are not connected to a network, then analog and logic/relay signals will be used to enable the communications.  It is also possible to have a combination of digital and analog communications.  For example, the press may have a PLC with a network connection, while the furnace may have regulators/controllers that will require analog communications.

Williamson and SAI will work with the proper plant contacts to develop, implement, and test the communications between the existing controls and the TPC System.  If this information is readily available then please complete, otherwise, it is acceptable to research these details at the time of an order as any changes to the components and price of the system will be minor.  Some examples of potential changes include:

- The addition of linear position or pressure sensors when the ram position and ram pressure are not available.

- If the existing regulator/controller does not include a ‘remote set point’ feature, then a new regulator/controller may be required for the final zone of the furnace.  To confirm these details, Williamson needs a copy of the electrical drawings for the furnace, or at a minimum a copy of the data sheet for the existing regulator/controller.

- Additional I/O cards for the existing furnace and press PLCs to enable communications with the TPC PLC.

For each parameter below

- Circle the units of measure used by the plant for each parameter.

- If digital communications will be used over the PLC network, is the parameter already setup in the PLC?

- If analog communications will be used, is the analog or logic/relay signal available from the existing controls?

|  | Press | Units | Digital Communication | Analog Communication |  |
| --- | --- | --- | --- | --- | --- |
|  | Parameter |  | Is Parameter setup in the PLC? | Type of Analog Signal | Is I/O Signal Available? |
| Outputs from Existing Controls |  |  |  |  |  |
| 1 | Live T/C Temp from Final Zone of the Furnace | °F °C | Yes No | 4-20mA | Yes No |
| 2 | Logic Signal to Call for Next Billet | - | Yes No | Relay Contacts | Yes No |
| 3 | Live Ram Pressure | PSI / Bar | Yes No | 4-20mA | Yes No |
| 4 | Live Ram Linear Position | In / mm | Yes No | 4-20mA | Yes No |
| 5 | Logic Signal for Die Change | - | Yes No | Relay Contacts | Yes No |
| 6 | Logic Signal for Press Extruding | - | Yes No | Relay Contacts | Yes No |
| 7 | Logic Signal for End of Extrusion | - | Yes No | Relay Contacts | Yes No |
| 8 | Actual Temperature Set Point in the Final Zone of the Furnace | °F °C | Yes No | Not applicable |  |
| 9 | Live Ram Speed | in / min mm /sec | Yes No | Not applicable |  |
| 10 | Actual Length of Profile | in / mm | Yes No | Not applicable |  |
| Inputs to the Existing Controls |  |  |  |  |  |
| 11 | Logic Signal for TPC Speed Control | - | Not applicable | 24 Vdc | Yes No |
| 12 | Extrusion Speed Set Point | in / min mm /sec | Not applicable | 4-20mA | Yes No |
| 13 | Logic Signal for TPC Billet Control | - | Not applicable | 24 Vdc | Yes No |
| 14 | Billet Temp Set Point in Final Zone | °F / °C | Not applicable | 4-20mA | Yes No |

70 Domino Drive, Concord, Massachusetts 01742-2817  Tel: (978) 369-9607  Fax: (978) 369-5485

Toll Free (USA): (800) 300-8367  Email: Sales@WilliamsonIR.com  www.WilliamsonIR.com